## Sheet1
field_name | requirement_level | definition | format | additional_instructions | examples
methodID | required | identifier for the method used | only alphanumeric characters and dash "-" and underscore "_" allowed | must be unique within the dataset ¦ recommended to maintain a consistent set of methodIDs within a team or project | ANION_T_AN_000 ¦ FRZ_80C ¦ H2Odilutionx2
method_Type | required | the type of method | text ¦ camelCase preferred | use recommended vocabulary if possible ¦ include definitions for used terminology in dataDictionary | analysisMethod ¦ storageMethod ¦ preparationMethod ¦ dataProcessingMethod
method_Description | required | method description detailed enough to pass peer review in a scientific publication | text | may refer to publication of method including any deviations and modifications applied | EPA 353.2 Rev 2 ¦ Vials were stored at -80 degC until prepared for analysis ¦ Dissolved organic C was analyzed by the non-purgeable organic C (NPOC) method on a Shimadzu TOC-L analyzer with in-line acidification (phosphoric acid) of samples to volatilize inorganic C
method_Instrument | required | instrument specifications: type ¦ model ¦ manufacturer ¦ manufacturing location | text | use N/A for methods that did not involve a specific instrument | WestCo SmartChem 200 Discrete Analyzer ¦ ICP-MS XSERIES 2 - 135 Thermo Scientific - Cambridge - U.K.
method_Lab | required | name of the laboratory where the method was performed | text | as specific as possible ¦ may be more than one laboratory if appropriate but must be clarified what was done where in that case | EMSL-PNNL ¦ UC Davis Analytical Lab
method_LabContact | recommended | contact details for the laboratory where the method was performed | text | include all relevant contact information; website ¦ email address ¦ postal address ¦ phone number ¦ name of contact person | UC Davis Analytical Lab; University of California Davis; CA-95616-5270; (530) 752-0147; anlab@ucdavis.edu
method_Temp | recommended | temperature at which method was carried out | text ¦ degrees celsius preferred | recommended format is temperature in degrees celsius (e.g. 20C, 2C, -80C), but can also be "ambient", "unknown", "iced", "heated' etc that provides relevant information even if the exact temperature is not known | 2C ¦ -80C ¦ frozen ¦ room temperature
method_Light | recommended | light conditions for the method | text ¦ camelCase preferred | report if light conditions are relevant for sample integrity | ambient light ¦ dark ¦ unknown
method_Atmosphere | recommended | atmosphere for the method | text ¦ alphanumerical preferred | report if atmosphere is relevant for sample integrity or method specificity | anoxic ¦ 95to5-N2toH2¦ vaccuum ¦ He
method_Moisture | recommended | moisture conditions of sample exposed to method | text | only relevant for solid samples | dry ¦ field moist ¦ 30 percent water holding capacity ¦ field capacity
method_Medium | recommended | medium used for the method | text | report for methods involving manipulations of the initial sample medium: extractions¦ dilutions ¦ nutrient media for incubations. Must include concentrations and specific composition in method description field.
method_Time | recommended | time span for method | number and unit | report if relevant for the method: incubation time ¦ storage time ¦ extraction time etc | 2 hours ¦ 30 days ¦ 20 minutes
method_Reference | recommended | citation or link to published method description | text | if possible provide the citation if the method has been published or a link to method description website | https://www.epa.gov/sites/production/files/2015-08/documents/method_353-2_1993.pdf